[image: image1.jpg]_‘ EuroBioBank





Généthon
Laboratory Procedures for Human DNA Extraction

December 2014
[image: image1.jpg]
                                                                                 [image: image2.jpg]




Laboratory Procedures for Human DNA Extraction

octobre 2004

DNA EXTRACTION FROM LYMPHOCYTES

Cells should be washed and treated under the same conditions as for whole blood (see MANUAL DNA EXTRACTION FROM BLOOD OR LYMPHOCYTES with PHENOL/CHLOROFORM protocol).

Equipment and Materials 

· Saline solution:

- NaCl 3M   

50 ml

- Distilled water to 1000 ml

· SLR :

- TRIS 2M pH 7.6
10 ml

- MgCl2 1M

10 ml

- NaCl 3M

6.6 ml

- Distilled water to
2000 ml
· 50 ml SARSTEDT tubes

· Centrifuge 

Procedure

The cell suspension must be treated on the day it arrives, imperatively.
1. Homogenize the culture flask with gentle manual agitation

2. Transfer the culture to a 50 ml tube

3. Centrifuge at 2000 rpm for 10 min

4. Decant the supernatant

5. Wash the pellet with 10 ml saline solution

6. Centrifuge for 5 min at 2000 rpm

7. Decant the supernatant

8. Wash the pellet with 10 ml SLR

9. Centrifuge for 5 min at 2000 rpm 

10. Decant the supernatant

11. Cells may be frozen at –80°C at this stage, or be lysed for DNA extraction

DNA will be extracted from the cells using the same procedures as for cells from whole blood (see corresponding protocols: Salt Method, Phenol/Chloroform, Autogen()

Généthon -S.Saker 

Copyright Eurobiobank 2014

1/1
saker@genethon.fr

2/1

[image: image2.jpg][image: image3.jpg]_‘ EuroBioBank



