[image: image1.png]







Banque de Tissus pour la Recherche


Laboratory Procedures for Human Tissues
August 2004
_______________________________________________________________





        

Banque de Tissus pour la Recherche

Isopentane freezing protocol for human tissues __________________________________________________


ISOPENTANE FREEZING PROTOCOL FOR MUSCLE BIOPSY

Equipment and Materials

· Polystyrene container for liquid nitrogen

· Floating platform (polystyrene) with punched hole for plastic cold-resistant container (see diagram below).

· Adhesive gum (or tissue teck).

· Cork supports

· Isopentane

· Cryotubes  (2 ml) for conditioning tissues.

Procedure

1. Prepare the polystyrene container. Fill to three-quarters mark.



[image: image6.jpg]_‘ EuroBioBank



Nitrogen
2. Take the floating platform with the punched hole, and put the "isopentane" container on it. Then pour the isopentane into the container up to the mark.



Isopentane container


Punched floating platform


[image: image2.png]



3. Carefully place the floating platform with the isopentane on top of the nitrogen (it will float), allow the isopentane to cool until white crystals appear at the bottom of the container.

                                                 Nitrogen             
[image: image3.png]




 EMBED PBrush  [image: image4.png]Isopentane





4. Place a drop of adhesive gum or "Tissue-Teck" on the cork support, place the tissue on the gum, and drop the whole thing into the cooled isopentane. Leave for 2 minutes.


[image: image5.png]For transversal tisue section

Forlongitudinal tissue section
Tisswe
Tisswe
Adbesive gama Adbesive gama
Cork support Cork support





5. Label the cryotubes

6. Cool the cryotubes in liquid nitrogen (30 seconds) BEFORE placing the tissue-cork-gum constructions in them.

7. Store the cryotubes at –80°C or in a liquid nitrogen container.

¾ mark








BTR-Cécile Jaeger - August 2004

1/1
Copyright Eurobiobank 2005
BTR-Cécile Jaeger - August 2004

2/2
Copyright Eurobiobank 2005

_1083512546

_1083512895

_1083758030

_1042271388

_1042271739

